## Slide 1
Buffer .
Buffer
Memory
CPU
Switch Debouncer
VRAM Controller
Clock Logic
Rotary Switch Decoder
Triggering Switches
(enable, slope)
Channel A/B Vertical Sensitivity and Sweep Rate Rotary Switches
Display Buttons
Board Power
reg: 1.2V, 2.5V, 3.3V, 5.0V,
unreg: -12V, 12V
12VDC Input
Trigger Level / Delay Rotary Switches
A,B Vertical / Horizontal Offset Potentiometers
ADC
DRAM
High-Z Gain
Channel A In
Fast ADC
High-Z Gain
Channel B In
Fast ADC
8-bit Logic In
DC/AC/GND Select (A/B)
A/B/Dual/Logic Select
EEPROM
Display / Touchscreen
MUX
Real-time Math (FFT)
Voltage Reference
JTAG Control
JTAG
USB
Protection
CS Logic
Interrupt Controller
Channel Input Queues (FIFO)
WDT/Reset Logic
i2c Controller
SRAM
Albert Gural
EE52 – FPGA Oscilloscope
i2c pull-ups
VRAM Address
Address
Control
Data
Chip Select
PLL Adj. ADC Clock
Trigger Logic
Trigger Logic
Trigger Logic
Protection
Protection
Level Shift
Level Shift
High-Z Buffer
Boost Inverter